## Slide 1
Part 2: AC Circuits
Sinusoids and Phasors
Sinusoidal Steady-State Analysis
AC Power Analysis
Three-Phase Circuits
Magnetically Coupled Circuits

## Slide 2
Chapter 13 Magnetically Coupled Circuits
Introduction
Mutual Inductance
Energy in a Coupled Circuit
Linear Transformers
Ideal Transformers

## Slide 3
Chapter objectives
Understand magnetically coupled circuits
Learn the concept of mutual inductance
Learn how to analyze magnetically coupled circuits

## Slide 4
Key points
Understand the concept of mutual inductance
Know how to determine the reference polarity of the mutual voltage
Know how to analyze circuits involving linear and ideal transformers

## Slide 5
Difficult points
The reference polarity of the mutual voltage
The analyzing method of magnetically coupled circuits

## Slide 6
It is an electrical device designed on the basis of the concept of magnetic coupling
It uses magnetically coupled coils to transfer energy from one circuit to another
It is the key circuit element for stepping up or stepping down ac voltages or currents, impedance matching, isolation, etc.
What is a transformer?
13.1 Introduction

## Slide 7
1. Self-inductance
2. Mutual Inductance
3. The VCR of mutual coils
13.2 Mutual Inductance

## Slide 8
1. Self-inductance
A coil of wire with a changing current can produce an electromotive force (EMF) within itself. (Faraday’s induction Law)
This EMF will oppose whatever is causing the changing current (LENZ’S Law)
So a coil of wire takes on a special name called the inductor

## Slide 9
Ideal inductor symbol
Where
v = (Instantaneous) induced voltage in volts
N = Number of turns of coil
= Magnetic flux in Webers
Y = Flux linkage
According to the right hand rule
Self-inductance L

## Slide 10
It is the ability of one inductor to induce a voltage across a neighboring inductor, measured in henrys (H).
The open-circuit mutual voltage across coil 2
The open-circuit mutual voltage across coil 1
2. Mutual inductance

## Slide 11
M21 = M12 =M : Mutual inductance, M>0. （Henrys）

## Slide 14
The dot convention
i1
•
•
L1
L2
+
_
v1
+
_
v2
i2
M
dots are placed beside each coil (inductor) so that if both currents are entering (or leaving) the dotted terminals, then the fluxes will be added.
We need dots on the schematic to know how the coils are physically oriented with respect to one another

## Slide 15
If a current enters (leaves) the dotted terminal of one coil, the reference polarity of the mutual voltage in the second coil is positive (negative)at the dotted terminal of the second coil.
The dot convention
Illustration of the dot convention

## Slide 16
Determine the sign of the mutual voltage
Examples
How to place dots for two magnetically coupled coils?

## Slide 17
Steps:
1.Assume a current enters one terminal of coil 1, place a dot at that terminal.
2. Apply the right hand rule and find the direction of the flux that links coil 2.
3. Use the right hand rule to determine the dotted terminal of coil 2 since the fluxes will be added if both currents enter the dotted terminals respectively, place a dot at that terminal for coil 2.

i
1
1'
2
2'
*
*
1
1'
2
2'
3'
3
*
*




For example:
If two or more coils are coupled with one another, the dot-pairs should be marked with different symbols.

## Slide 18
When both coils are energized, the voltage of each coil can be found by superposition; in each coil, the induced voltage is the sum of its self-voltage plus the voltage mutually induced due to the current in the other coil.
i1
*
*
L1
L2
+
_
u1
+
_
u2
i2
M
3. The VCR of mutual coils

## Slide 19
i1
*
*
L1
L2
+
_
u1
+
_
u2
i2
M
In frequency domain
j L1
j L2
+
–
–
+
+
–
+
–
The mutual voltage can be represented by CCVS.

## Slide 20
i
*
*
u2
+
–
M
R1
R2
L1
L2
u1
+
–
u
+
–
i
R
L
u
+
–
1. Series-aiding connection
Dot convention for coils in series

## Slide 21
i
*
*
u2
+
–
M
R1
R2
L1
L2
u1
+
–
u
+
–
i
R
L
u
+
–
2. Series-opposing connection

## Slide 22
1. Parallel-aiding connection
i = i1 +i2
Solve the equations, we get
*
*
M
i2
i1
L1
L2
u
i
+
–
Dot convention for coils in parallel

## Slide 23
i = i1 +i2
Solve the equations, we get
*
*
M
i2
i1
L1
L2
u
i
+
–
2. Parallel-opposing connection

## Slide 24
Time-domain analysis of a circuit containing coupled coils.
Frequency-domain analysis of a circuit containing coupled coils

## Slide 25
Calculate the phasor currents I1 and I2 in the circuit shown below.
Ans:
Example 1

## Slide 27
The coupling coefficient, k, is a measure of the magnetic coupling between two coils; 0≤k≤1.
k = 1 perfectly coupled;
k < 0.5 loosely coupled;
k > 0.5 tightly coupled.
13.3 Energy in a Coupled Circuit

## Slide 28
Review:
Energy stored in an inductor:
Assume i1:0~I1, i2=0
The power in coil 1:
The energy stored in the circuit:
i1=I1, i2:0~I2
The mutual voltage induced in coil 1:
The mutual voltage induced in coil 2 is zero since i1 does not change.
The power in the coils:
The energy stored in the circuit:

## Slide 29
The total energy stored in the coils when both i1 and i2 have reached constant values
Reverse the order by which the currents reach their final values, the total energy stored in the coils
The total energy should be the same
If one current enters one dotted terminal, the other current leaves the other dotted terminal, the mutual voltage is negative, the mutual energy MI1I2 is also negative
The general expression of the instantaneous energy stored in the circuit

## Slide 30
The energy stored in the circuit
Coefficient of coupling k: the extent to which M approaches the upper limit

## Slide 31
Consider the circuit below. Determine the coupling coefficient. Calculate the energy stored in the coupled inductors at time t = 1s if v=60cos(4t +30°) V.
Ans: k=0.56; w(1)=20.73J
Example 2

## Slide 32
It is an electrical device designed on the basis of the concept of magnetic coupling
It uses magnetically coupled coils to transfer energy from one circuit to another
It is the key circuit element for stepping up or stepping down ac voltages or currents, impedance matching, isolation, etc.
What is a transformer?
13.4 Linear Transformers

## Slide 33
Linear Transformers
It is generally a four-terminal device comprising two (or more) magnetically coupled coils

## Slide 34
*
*
j L1
j L2
j M
+
–
R1
R2
Z=R+jX
Equivalent circuit for primary winding
Z11=R1+j L1， Z22=(R2+R)+j( L2+X)， ZM=j M
+
–
Z11

## Slide 35
+
–
Z11
Reflected impedance, which reflects the secondary impedances into the primary

## Slide 36
In the circuit below, calculate the input impedance and current I1. Take Z1=60-j100Ω, Z2=30+j40Ω, and ZL=80+j60Ω.
Ans:
Example 3

## Slide 37
The equivalent T circuit of a linear transformer
i1
*
*
L1
L2
+
_
u1
+
_
u2
i2
M
L1–M
i1
i2
i1 +i2
L2–M
M
L1–M
i1
i2
i1 +i2
L2–M
M
i1
*
*
L1
L2
+
_
u1
+
_
u2
i2
M
L1+M
i1
i2
i1 +i2
L2+M
-M
L1+M
i1
i2
i1 +i2
L2+M
-M

## Slide 38
Tee Model
*
*
j L1
1
2
3
j L2
j M
j (L1–M)
1
2
3
j (L2–M)
j M
(a) Dots on the same sides

## Slide 39
*
*
j L1
1
2
3
j L2
j M
j (L1+M)
1
2
3
j (L2+M)
-j M
(b) Dots on opposite sides

## Slide 40
1）series：equivalent inductor，L = L1 + L2 ± 2M
series aiding connection for “+”，otherwise for “－”
2）parallel：equivalent inductor，
parallel aiding connection for “－” ，otherwise for “+”
3）Tee model
Dots on same sides
Dots on opposite sides
*
*
j L1
1
2
3
j L2
j M


j (L1–M)
1
2
3
j (L2–M)
j M
＋
＋
Equivalent circuits without magnetic coupling

## Slide 41
Ex.1
Find the equivalent inductance Lab of circuit (a)、(b)
（b）
（a）

## Slide 42
Decoupled equivalent circuits
M12
*
*




M23
M13
L1
L2
L3
*
*


M23
M13
L1–M12
L2–M12
L3+M12
L1–M12 +M23 –M13
L2–M12–M23 +M13
L3+M12–M23 –M13
L1–M12 +M23
L2–M12 –M23
L3+M12 –M23


M13

## Slide 44: 13.5 Ideal Transformers
An ideal transformer is a unity-coupled, lossless transformer in which the primary and secondary coils have infinite self-inductances.
Ideal Transformer
Circuit symbol
V2>V1→ step-up transformer
V2<V1→ step-down transformer

## Slide 45
+
-
+
-
1: n
+
-
+
-
1: n
+
-
+
-
1: n

## Slide 46: Transformer as a matching device
+
-
+
-
1: n
ZL
Zin
Vs1
Z1
Z2/n2
Vs2/n
Vs2
Vs1
Z1
Z2
1: n
I1
I2
Thevenin equivalent

## Slide 47
Vs2
Vs1
Z1
Z2
1: n
I1
I2
nVs1
n2 Z1
Z2
Vs2

## Slide 48: Transformer as a matching device
+
-
+
-
1: n
RL
-
+
-
+
1: n
RL/n2
+
-
+
1: n
R
-
+
-
+
1: n
R
-
n2R

## Slide 49
Solving Ideal Transformer Problem
Method 1: Write out equations
  Mesh analysis or Nodal analysis
  Transformer VCR equations
Method 2 : Form equivalent circuit
  Reflecting into secondary
  Reflecting into primary
Vs1
Vs2
Z1
Z2

## Slide 50
An ideal transformer is rated at 2400/120V, 9.6 kVA, and has 50 turns on the secondary side.
Calculate:
  the turns ratio,
  the number of turns on the primary side, and
  the current ratings for the primary and secondary windings.
Ans:
This is a step-down transformer, n=0.05
N1 = 1000 turns
I1 = 4A and I2 = 80A
Example 4